## Sheet1
Room Design Spreadsheet by N. Williams & S.H. Hawley
Name(s):_______________________________ |  |  |  | Room Type: |  | Lecture Hall
______________________________________ |  |  |  | "Ideal" Reverb Time: |  | 0.9 | Stephens & Bate RT60 = |  | 1.1343 | s
[7 empty] | Curve fit of Figure 8-4 = |  | 0.90215 | s
User inputs are in blue
Room Size: | Length (ft) | Width (ft) | Height (ft) | Volume
| 100 | 75 | 15 | 112500 | ft3
| Sound Speed (ft/s): | 1140
Sabins
Part | Type | Quantity (ft2 or #) | 125 Hz | 500 Hz | 1000 Hz | 2000 Hz
| Seat+Person* | 30 | 90 | 135 | 150 | 156
Floor | Concrete | 7500 | 75 | 150 | 150 | 150
Ceiling | Curtains | 7500 | 375 | 1875 | 2625 | 3000
Wall - Back | Plasterboard | 1500 | 300 | 150 | 120 | 60
Wall - Front | Plywood | 1500 | 675 | 195 | 165 | 150
Wall - Left | Plywood | 1125 | 506.25 | 146.25 | 123.75 | 112.5
Wall - Right | Plywood | 1125 | 506.25 | 146.25 | 123.75 | 112.5
|  | Total Sabins | 2527.5 | 2797.5 | 3457.5 | 3741
|  | Reverb Time (s) | 2.226 | 2.011 | 1.627 | 1.504
* Seat+person is just a number, i.e. not measured in ft2
Cost Calculator
Building | 73125 |  | Volume Rate ($/ft^3): |  | 0.65
Seats | 1500
Floor | 3750
Ceiling | 6000
Wall - Back | 525
Wall - Front | 525
Wall - Left | 393.75 | Income/Person | 270
Wall - Right | 393.75 | Income |  | Profit/Loss
| 86212.5 | 8100 |  | -78112.5
Materials | Absorption Coefficients |  |  |  | Cost
| 125 Hz | 500 Hz | 1000 Hz | 2000 Hz
Concrete | 0.01 | 0.02 | 0.02 | 0.02 | 0.5
Glass | 0.19 | 0.06 | 0.04 | 0.03 | 4
Plasterboard | 0.2 | 0.1 | 0.08 | 0.04 | 0.35
Plywood | 0.45 | 0.13 | 0.11 | 0.1 | 0.35
Carpet | 0.1 | 0.3 | 0.35 | 0.5 | 0.65
Curtains | 0.05 | 0.25 | 0.35 | 0.4 | 0.8
Acoustical Board | 0.25 | 0.8 | 0.9 | 0.9 | 1.25
### AUX | 0.95 | 0.45 | 0.6 | 0.1 | 0.1
Room Types: | Income | Cost / seat | Stephens & Bate RT60: |  |  | Curve Fits | V_start | V_end | RT60_start | RT60_end | "Ideal" (s)
Lecture Hall | 270 | 50 | 1.1343 |  |  | of Figure 8-4: | 1000 | 100000 | 0.375 | 0.889 | 0.90215
Church | 270 | 10 | 1.4178 |  |  |  | 10000 | 1000000 | 1 | 2.2 | 1.6307
Chamber Music | 300 | 50 | 1.4178 |  |  |  | 10000 | 500000 | 0.891 | 1.4 | 1.2059
Romantic Music | 300 | 50 | 1.7014 |  |  |  | 100000 | 1000000 | 1.9 | 2.2 | 1.9153

## Sheet2
Room Modes:
Mode Sum | nx | ny | nz | Freq. (Hz) | Graph Y
1 | 0 | 0 | 1 | 38 | 1
1 | 0 | 1 | 0 | 7.6 | 1
1 | 1 | 0 | 0 | 5.7 | 1
2 | 0 | 0 | 2 | 76 | 1
2 | 0 | 1 | 1 | 38.7525 | 1
2 | 0 | 2 | 0 | 15.2 | 1
2 | 1 | 0 | 1 | 38.4251 | 1
2 | 1 | 1 | 0 | 9.5 | 1
2 | 2 | 0 | 0 | 11.4 | 1
3 | 0 | 0 | 3 | 114 | 1
3 | 0 | 1 | 2 | 76.3791 | 1
3 | 0 | 2 | 1 | 40.9273 | 1
3 | 0 | 3 | 0 | 22.8 | 1
3 | 1 | 1 | 1 | 39.1695 | 1
3 | 1 | 0 | 2 | 76.2135 | 1
3 | 1 | 2 | 0 | 16.2336 | 1
3 | 2 | 0 | 1 | 39.6732 | 1
3 | 2 | 1 | 0 | 13.7011 | 1
3 | 3 | 0 | 0 | 17.1 | 1
4 | 0 | 0 | 4 | 152 | 1
4 | 0 | 1 | 3 | 114.2531 | 1
4 | 0 | 2 | 2 | 77.5051 | 1
4 | 0 | 3 | 1 | 44.3152 | 1
4 | 0 | 4 | 0 | 30.4 | 1
4 | 1 | 1 | 2 | 76.5914 | 1
4 | 1 | 2 | 1 | 41.3223 | 1
4 | 1 | 0 | 3 | 114.1424 | 1
4 | 1 | 3 | 0 | 23.5017 | 1
4 | 2 | 1 | 1 | 40.3946 | 1
4 | 2 | 0 | 2 | 76.8502 | 1
4 | 2 | 2 | 0 | 19 | 1
4 | 3 | 0 | 1 | 41.6703 | 1
4 | 3 | 1 | 0 | 18.7128 | 1
4 | 4 | 0 | 0 | 22.8 | 1
5 | 0 | 0 | 5 | 190 | 1
5 | 0 | 1 | 4 | 152.1899 | 1
5 | 0 | 2 | 3 | 115.0089 | 1
5 | 0 | 3 | 2 | 79.3463 | 1
5 | 0 | 4 | 1 | 48.6637 | 1
5 | 0 | 5 | 0 | 38 | 1
5 | 1 | 0 | 4 | 152.1068 | 1
5 | 1 | 1 | 3 | 114.3951 | 1
5 | 1 | 2 | 2 | 77.7144 | 1
5 | 1 | 3 | 1 | 44.6803 | 1
5 | 1 | 4 | 0 | 30.9298 | 1
5 | 2 | 0 | 3 | 114.5686 | 1
5 | 2 | 1 | 2 | 77.2251 | 1
5 | 2 | 2 | 1 | 42.4853 | 1
5 | 2 | 3 | 0 | 25.4912 | 1
5 | 3 | 0 | 2 | 77.9 | 1
5 | 3 | 1 | 1 | 42.3576 | 1
5 | 3 | 2 | 0 | 22.879 | 1
5 | 4 | 0 | 1 | 44.3152 | 1
5 | 4 | 1 | 0 | 24.0333 | 1
5 | 5 | 0 | 0 | 28.5 | 1
6 | 0 | 0 | 6 | 228 | 1
6 | 0 | 1 | 5 | 190.1519 | 1
6 | 0 | 2 | 4 | 152.7581 | 1
6 | 0 | 3 | 3 | 116.2576 | 1
6 | 0 | 4 | 2 | 81.8545 | 1
6 | 0 | 5 | 1 | 53.7401 | 1
6 | 0 | 6 | 0 | 45.6 | 1
6 | 1 | 0 | 5 | 190.0855 | 1
6 | 1 | 1 | 4 | 152.2966 | 1
6 | 1 | 2 | 3 | 115.15 | 1
6 | 1 | 3 | 2 | 79.5508 | 1
6 | 1 | 4 | 1 | 48.9964 | 1
6 | 1 | 5 | 0 | 38.4251 | 1
6 | 2 | 0 | 4 | 152.4269 | 1
6 | 2 | 1 | 3 | 114.8204 | 1
6 | 2 | 2 | 2 | 78.339 | 1
6 | 2 | 3 | 1 | 45.7581 | 1
6 | 2 | 4 | 0 | 32.4672 | 1
6 | 3 | 0 | 3 | 115.2754 | 1
6 | 3 | 1 | 2 | 78.2699 | 1
6 | 3 | 2 | 1 | 44.3559 | 1
6 | 3 | 3 | 0 | 28.5 | 1
6 | 4 | 0 | 2 | 79.3463 | 1
6 | 4 | 1 | 1 | 44.9622 | 1
6 | 4 | 2 | 0 | 27.4022 | 1
6 | 5 | 0 | 1 | 47.5 | 1
6 | 5 | 1 | 0 | 29.4959 | 1
6 | 6 | 0 | 0 | 34.2 | 1
7 | 0 | 0 | 7 | 266 | 1
7 | 0 | 1 | 6 | 228.1266 | 1
7 | 0 | 2 | 5 | 190.607 | 1
7 | 0 | 3 | 4 | 153.7005 | 1
7 | 0 | 4 | 3 | 117.9837 | 1
7 | 0 | 5 | 2 | 84.9706 | 1
7 | 0 | 6 | 1 | 59.3579 | 1
7 | 0 | 7 | 0 | 53.2 | 1
7 | 1 | 0 | 6 | 228.0712 | 1
7 | 1 | 1 | 5 | 190.2374 | 1
7 | 1 | 2 | 4 | 152.8644 | 1
7 | 1 | 3 | 3 | 116.3973 | 1
7 | 1 | 4 | 2 | 82.0527 | 1
7 | 1 | 5 | 1 | 54.0416 | 1
7 | 1 | 6 | 0 | 45.9549 | 1
7 | 2 | 0 | 5 | 190.3417 | 1
7 | 2 | 1 | 4 | 152.6163 | 1
7 | 2 | 2 | 3 | 115.5725 | 1
7 | 2 | 3 | 2 | 80.1611 | 1
7 | 2 | 4 | 1 | 49.9812 | 1
7 | 2 | 5 | 0 | 39.6732 | 1
7 | 3 | 0 | 4 | 152.9589 | 1
7 | 3 | 1 | 3 | 115.5256 | 1
7 | 3 | 2 | 2 | 79.3691 | 1
7 | 3 | 3 | 1 | 47.5 | 1
7 | 3 | 4 | 0 | 34.8794 | 1
7 | 4 | 0 | 3 | 116.2576 | 1
7 | 4 | 1 | 2 | 79.7095 | 1
7 | 4 | 2 | 1 | 46.8495 | 1
7 | 4 | 3 | 0 | 32.2441 | 1
7 | 5 | 0 | 2 | 81.168 | 1
7 | 5 | 1 | 1 | 48.1042 | 1
7 | 5 | 2 | 0 | 32.3 | 1
7 | 6 | 0 | 1 | 51.1238 | 1
7 | 6 | 1 | 0 | 35.0343 | 1
7 | 7 | 0 | 0 | 39.9 | 1
8 | 0 | 0 | 8 | 304 | 1
8 | 0 | 1 | 7 | 266.1085 | 1
8 | 0 | 2 | 6 | 228.5061 | 1
8 | 0 | 3 | 5 | 191.3631 | 1
8 | 0 | 4 | 4 | 155.0102 | 1
8 | 0 | 5 | 3 | 120.1666 | 1
8 | 0 | 6 | 2 | 88.6305 | 1
8 | 0 | 7 | 1 | 65.3777 | 1
8 | 0 | 8 | 0 | 60.8 | 1
8 | 1 | 0 | 7 | 266.0611 | 1
8 | 1 | 1 | 6 | 228.1978 | 1
8 | 1 | 2 | 5 | 190.6922 | 1
8 | 1 | 3 | 4 | 153.8061 | 1
8 | 1 | 4 | 3 | 118.1213 | 1
8 | 1 | 5 | 2 | 85.1616 | 1
8 | 1 | 6 | 1 | 59.6309 | 1
8 | 1 | 7 | 0 | 53.5045 | 1
8 | 2 | 0 | 6 | 228.2848 | 1
8 | 2 | 1 | 5 | 190.4934 | 1
8 | 2 | 2 | 4 | 153.1829 | 1
8 | 2 | 3 | 3 | 116.8152 | 1
8 | 2 | 4 | 2 | 82.6445 | 1
8 | 2 | 5 | 1 | 54.936 | 1
8 | 2 | 6 | 0 | 47.0034 | 1
8 | 3 | 0 | 5 | 190.7679 | 1
8 | 3 | 1 | 4 | 153.1475 | 1
8 | 3 | 2 | 3 | 116.2732 | 1
8 | 3 | 3 | 2 | 81.168 | 1
8 | 3 | 4 | 1 | 51.5807 | 1
8 | 3 | 5 | 0 | 41.6703 | 1
8 | 4 | 0 | 4 | 153.7005 | 1
8 | 4 | 1 | 3 | 116.5058 | 1
8 | 4 | 2 | 2 | 80.7891 | 1
8 | 4 | 3 | 1 | 49.8365 | 1
8 | 4 | 4 | 0 | 38 | 1
8 | 5 | 0 | 3 | 117.5085 | 1
8 | 5 | 1 | 2 | 81.5231 | 1
8 | 5 | 2 | 1 | 49.8727 | 1
8 | 5 | 3 | 0 | 36.4978 | 1
8 | 6 | 0 | 2 | 83.3405 | 1
8 | 6 | 1 | 1 | 51.6856 | 1
8 | 6 | 2 | 0 | 37.4257 | 1
8 | 7 | 0 | 1 | 55.1 | 1
8 | 7 | 1 | 0 | 40.6174 | 1
8 | 8 | 0 | 0 | 45.6 | 1
9 | 0 | 0 | 9 | 342 | 1
9 | 0 | 1 | 9 | 342.0844 | 1
9 | 0 | 2 | 9 | 342.3376 | 1
9 | 0 | 3 | 9 | 342.7592 | 1
9 | 0 | 4 | 9 | 343.3485 | 1
9 | 0 | 5 | 9 | 344.1046 | 1
9 | 0 | 6 | 9 | 345.0266 | 1
9 | 0 | 7 | 9 | 346.113 | 1
9 | 0 | 8 | 9 | 347.3624 | 1
9 | 0 | 9 | 0 | 68.4 | 1
9 | 0 | 1 | 8 | 304.095 | 1
9 | 0 | 2 | 7 | 266.4339 | 1
9 | 0 | 3 | 6 | 229.1372 | 1
9 | 0 | 4 | 5 | 192.4166 | 1
9 | 0 | 5 | 4 | 156.678 | 1
9 | 0 | 6 | 3 | 122.7818 | 1
9 | 0 | 7 | 2 | 92.7698 | 1
9 | 0 | 8 | 1 | 71.6983 | 1
9 | 0 | 9 | 0 | 68.4 | 1
9 | 1 | 0 | 8 | 304.0534 | 1
9 | 1 | 2 | 7 | 266.4949 | 1
9 | 1 | 3 | 6 | 229.208 | 1
9 | 1 | 4 | 5 | 192.501 | 1
9 | 1 | 5 | 4 | 156.7817 | 1
9 | 1 | 6 | 3 | 122.914 | 1
9 | 1 | 7 | 2 | 92.9448 | 1
9 | 1 | 8 | 0 | 61.0666 | 1
9 | 2 | 0 | 7 | 266.2442 | 1
9 | 2 | 1 | 6 | 228.4113 | 1
9 | 2 | 2 | 5 | 190.9476 | 1
9 | 2 | 3 | 4 | 154.1227 | 1
9 | 2 | 4 | 3 | 118.5332 | 1
9 | 2 | 5 | 2 | 85.7319 | 1
9 | 2 | 6 | 1 | 60.4427 | 1
9 | 2 | 7 | 0 | 54.4077 | 1
9 | 3 | 0 | 6 | 228.6404 | 1
9 | 3 | 1 | 5 | 190.9193 | 1
9 | 3 | 2 | 4 | 153.7122 | 1
9 | 3 | 3 | 3 | 117.5085 | 1
9 | 3 | 4 | 2 | 83.6216 | 1
9 | 3 | 5 | 1 | 56.3951 | 1
9 | 3 | 6 | 0 | 48.7008 | 1
9 | 4 | 0 | 5 | 191.3631 | 1
9 | 4 | 1 | 4 | 153.8883 | 1
9 | 4 | 2 | 3 | 117.2471 | 1
9 | 4 | 3 | 2 | 82.5571 | 1
9 | 4 | 4 | 1 | 53.7401 | 1
9 | 4 | 5 | 0 | 44.3152 | 1
9 | 5 | 0 | 4 | 154.6488 | 1
9 | 5 | 1 | 3 | 117.754 | 1
9 | 5 | 2 | 2 | 82.579 | 1
9 | 5 | 3 | 1 | 52.6886 | 1
9 | 5 | 4 | 0 | 41.6703 | 1
9 | 6 | 0 | 3 | 119.0195 | 1
9 | 6 | 1 | 2 | 83.6863 | 1
9 | 6 | 2 | 1 | 53.3355 | 1
9 | 6 | 3 | 0 | 41.1033 | 1
9 | 7 | 0 | 2 | 85.8371 | 1
9 | 7 | 1 | 1 | 55.6217 | 1
9 | 7 | 2 | 0 | 42.6972 | 1
9 | 8 | 0 | 1 | 59.3579 | 1
9 | 8 | 1 | 0 | 46.229 | 1
9 | 9 | 0 | 0 | 51.3 | 1
10 | 0 | 0 | 10 | 380
10 | 0 | 1 | 9 | 342.0844 | 1
10 | 0 | 2 | 8 | 304.3798 | 1
10 | 0 | 3 | 7 | 266.9754 | 1
10 | 0 | 4 | 6 | 230.0177 | 1
10 | 0 | 5 | 5 | 193.7627 | 1
10 | 0 | 6 | 4 | 158.6927 | 1
10 | 0 | 7 | 3 | 125.8024 | 1
10 | 0 | 8 | 2 | 97.3275 | 1
10 | 0 | 9 | 1 | 78.2468 | 1
10 | 0 | 10 | 0 | 76 | 1
10 | 1 | 0 | 9 | 342.0475 | 1
10 | 1 | 1 | 8 | 304.1484 | 1
10 | 1 | 2 | 7 | 266.4949 | 1
10 | 1 | 3 | 6 | 229.208 | 1
10 | 1 | 4 | 5 | 192.501 | 1
10 | 1 | 5 | 4 | 156.7817 | 1
10 | 1 | 6 | 3 | 122.914 | 1
10 | 1 | 7 | 2 | 92.9448 | 1
10 | 1 | 8 | 1 | 71.9245 | 1
10 | 1 | 9 | 0 | 68.6371 | 1
10 | 2 | 0 | 8 | 304.2137 | 1
10 | 2 | 1 | 7 | 266.3526 | 1
10 | 2 | 2 | 6 | 228.7903 | 1
10 | 2 | 3 | 5 | 191.7024 | 1
10 | 2 | 4 | 4 | 155.4288 | 1
10 | 2 | 5 | 3 | 120.7061 | 1
10 | 2 | 6 | 2 | 89.3606 | 1
10 | 2 | 7 | 1 | 66.3641 | 1
10 | 2 | 8 | 0 | 61.8595 | 1
10 | 3 | 0 | 7 | 266.5491 | 1
10 | 3 | 1 | 6 | 228.7666 | 1
10 | 3 | 2 | 5 | 191.3725 | 1
10 | 3 | 3 | 4 | 154.6488 | 1
10 | 3 | 4 | 3 | 119.2165 | 1
10 | 3 | 5 | 2 | 86.6742 | 1
10 | 3 | 6 | 1 | 61.7719 | 1
10 | 3 | 7 | 0 | 55.8807 | 1
10 | 4 | 0 | 6 | 229.1372 | 1
10 | 4 | 1 | 5 | 191.514 | 1
10 | 4 | 2 | 4 | 154.4503 | 1
10 | 4 | 3 | 3 | 118.4723 | 1
10 | 4 | 4 | 2 | 84.9706 | 1
10 | 4 | 5 | 1 | 58.3767 | 1
10 | 4 | 6 | 0 | 50.9823 | 1
10 | 5 | 0 | 5 | 192.1256 | 1
10 | 5 | 1 | 4 | 154.8354 | 1
10 | 5 | 2 | 3 | 118.4875 | 1
10 | 5 | 3 | 2 | 84.3095 | 1
10 | 5 | 4 | 1 | 56.3951 | 1
10 | 5 | 5 | 0 | 47.5 | 1
10 | 6 | 0 | 4 | 155.8 | 1
10 | 6 | 1 | 3 | 119.2619 | 1
10 | 6 | 2 | 2 | 84.7153 | 1
10 | 6 | 3 | 1 | 55.9775 | 1
10 | 6 | 4 | 0 | 45.7581 | 1
10 | 7 | 0 | 3 | 120.7808 | 1
10 | 7 | 1 | 2 | 86.1729 | 1
10 | 7 | 2 | 1 | 57.1581 | 1
10 | 7 | 3 | 0 | 45.9549 | 1
10 | 8 | 0 | 2 | 88.6305 | 1
10 | 8 | 1 | 1 | 59.8425 | 1
10 | 8 | 2 | 0 | 48.0666 | 1
10 | 9 | 0 | 1 | 63.8411 | 1
10 | 9 | 1 | 0 | 51.8599 | 1
10 | 10 | 0 | 0 | 57 | 1